DEPARTMENT OF ANATOMY

| S. No. |  | Items | Available |
| --- | --- | --- | --- |
| 1 | 1 | Dissection Tables with marble tops or stainless steel (6’X’1’X2’X3’) | 08 |
|  | 2 | Dissection set complete | 08 |
|  | 3 | Saw for sectioning body and limbs | 04 |
|  | 4 | Storage tanks to hold cadavers | 06 |
|  | 5 | Stools, Preferable metal | 30 |
|  | 6 | Wash basin (for student) | 02 |
|  | 7 | Machine for Sectioning bone and brain | 01 |
|  | 8 | Over head Projector | 01 |
|  | 9 | 35 mm Slide projctor | 01 |
|  | 10 | Tank Storage G.I or Zink for storing soft parts | 02 |
|  | 11 | Rubber glaves size | 2Box |
|  | 12 | Rubber teats No. 5 | 12 |
|  | 13 | Wooden blocks of different size | 10 |
|  | 14 | Razor Home & Strap | 02 |
|  | 15 | Plastic in different Colour | 04 |
|  | 16 | X-ray viewing boxes or panel | 02 |
|  | 17 | Microscope student type | 40 |
|  | 18 | Microscope (Research and Binocular) | 01 |
|  | 19 | Demonstration eyepieces | 05 |
|  | 20 | Double Demonstration eyepieces | 02 |
|  | 21 | Dissecting Microscope | 02 |
|  | 22 | Micrometer Ocular | 01 |
|  | 23 | Micrometer Stage | 01 |
|  | 24 | Microscope Slide and Coverslip etc | 02 |
|  | 25 | Cabinet for Slide (1000) | 01 |
|  | 26 | Microscope lamps | 03 |
|  | 27 | Incubator | 01 |
|  | 28 | Parafin embedding bath | 01 |
|  | 29 | Microstone (rotary with extrablade) | 01 |
|  | 30 | L. block | 03 |
|  | 31 | Hot plate for flattening section | 02 |
|  | 32 | Oven | 01 |
|  | 33 | Balance analytical capacity 200gm. Sensitivity 1/10gms | 01 |
|  | 34 | Stock of paraffin blocks | 02 |
|  | 35 | Distilled water stillmanesty tupy capacity gallon per hour | 01 |
|  | 36 | Stereoscope view- box | 01 |
|  | 37 | Microscope phase contrast | 01 |
|  | 38 | Microscope polarizing | 01 |
|  | 39 | Camera lucida | 01 |
|  | 40 | Microtome sledge, large secetion cutting | 01 |
|  | 41 | Microtome ,carbondioxide freezing cryosyat | 01 |
|  | 42 | Microscope with 3 objective&mechanical stage | 01 |
|  | 43 | Trolley tables | 02 |
|  | 44 | Microscope stereoscopic | 01 |
|  | 45 | Co2, Cylinder large capacity | 01 |
|  | 46 | Paraffin bath vacuum embedding | 01 |
|  | 47 | Table with marbel top or, stainless steel double standard size | 01 |
|  | 48 | Mortuary cooler with arrangement to keep 3-5 bodies | 01 |
|  | 49 | Staining racks with drop bottle for reagent and stains staining thought | 15 |
|  | 50 | Teaching Materials | Available |
|  |  | Models | 28 |
|  |  | Charts, | 30 |
|  |  | Diagram, | 12 |
|  |  | Slides | 142 |
|  |  | Soft Part Wet | 10 |
|  |  | Soft Part Dry | 15 |
|  |  | Skeleton (Articulated) | 04 |
|  |  | Bones (Loose) | 646 |
|  |  | Mummified bodies | 02 |
|  |  | Latest diagrams | 10 |
|  | 51 | Microscope (Medical) | 25 |